## IO_list
Tag | Comment | IO type | Selected Device EtherCAT, Profibus or Profinet | Beckhoff EtherCAT Device | Beckhoff Module type | Beckhoff Slot | Beckhoff Channel | Siemens Profibus Slave | Siemens Profinet IO Device | Siemens Module type | Siemens Slot | Siemens Channel | Absolute Adress | NO/NC | Input type | Output type | EGU | EGU HH | EGU H | EGU L | EGU LL | Beckhoff PLC declaration | Siemens PLC declaration
S01_X | Motor speed measurement | AI |  | 3 | EL3044 | 1 | 1 | 1 | 1 | AI 8xU/I/RTD/TC ST | 3 | 1 | 1.0 |  | 0-20mA |  | % | 95 | 90 | 20 | 10 | S01_X AT %I* : INT ; (* Motor speed measurement *) | <Tag type='INT' hmiVisible='True' hmiAccessible='True' retain='False' remark='Motor speed measurement ' addr='%I1.0'>S01_X</Tag>
M01_Y | Motor throttle | AO |  | 3 | EL4014 | 3 | 1 | 1 | 1 | AQ 4xU/I ST | 4 | 1 | 1.0 |  |  | 0-20mA | % | 95 | 90 | 20 | 10 | M01_Y AT %Q* : INT ; (* Motor throttle *) | <Tag type='INT' hmiVisible='True' hmiAccessible='True' retain='False' remark='Motor throttle ' addr='%Q1.0'>M01_Y</Tag>

## MAP_IO
S01_X | AI | 1.0 | aDQ1[1].0 := S01_X
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
M01_Y | AO | 1.0 | aDQ1[1].0 := M01_Y
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!

## Siemens XML frame
<?xml version='1.0' encoding='utf-8'?>
<Tagtable name='IOtags'>
<Tag type='INT' hmiVisible='True' hmiAccessible='True' retain='False' remark='Motor speed measurement ' addr='%I1.0'>S01_X</Tag>
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
<Tag type='INT' hmiVisible='True' hmiAccessible='True' retain='False' remark='Motor throttle ' addr='%Q1.0'>M01_Y</Tag>
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
</Tagtable>